* Low amp
* No amp
* Wrong tm
* Multiple melt peaks
* Shoulder on melt peak
* Cp too early/too late
* Missing reagents
* Non specifics
* Contamination
* Precipitate