MS2 TaqMan Chemistry

To test our MS2 oligos with TaqMan Chemistry, we tested multiple concentrations of MS2 template. Each reaction contains:

* 2x Promega MM
* 0.9 uM F&P primers
* 0.25 uM probe
* Either 105, 104, or 103 pfu template

Before combining

* +- RT
* +- Sal