## Slide 1: Sample Fluorimeter

## Slide 2: LED

## Slide 3: LED Nominal
Area = 1926

## Slide 4: LED Shift
LED + 2.5nm
Filter – 3nm
LED – 2.5nm
Filter + 3nm
Area = 2000
Area = 1821

## Slide 5: Detector

## Slide 6: 445 + 480

## Slide 7: 445 + 480

## Slide 8: 445 Nominal
Area = 0.238

## Slide 9: 445 Shift
445 + 10nm
Filter – 3nm
445 – 10nm
Filter + 3nm
Area = 0.009
Area = 2.51