## Slide 1: We want to know…
  Change LED and LED filter:
  Change in fluorescence
  Change in variability
    Run to run
    Instrument to instrument

## Slide 2: Intro
Background
7 instruments
  G04 (x5)
  InjMold (x2)
Swap LED, LED filter
Covid
  2.5 c/uL Zeptometrix NATtrol SARS-CoV-2 Stock in 1x Nasal Matrix
5 replicates on each instrument
Change LED and LED filter:
Change in fluorescence
Change in variability
  Run to run
  Instrument to instrument

## Slide 3: Confidence Area

## Slide 4: Confidence Area

## Slide 5: Confidence Area

## Slide 6: Confidence Area

## Slide 7: 515
Fmax
Melt range

## Slide 8: 480
Fmax
Melt range

## Slide 9: Normal Distribution