## Sheet1
| Cup ID | set temp (c) | time till break (sec) | est mod temp (c) | est mod pressure (psig) | noticeable SB before run | other issues | antoine coeffs
|  |  | 0-900 | <=104 | 12-18 | y/n/m
f1 | facc7c | 115 | 420 | 104 | 16.93 | n |  | a | b | c
f2 | 32f918 | 115 | 146 | 101 | 15.23 | n |  | 8.0713 | 1730.63 | 233.426 | >275 = 104
f3 | c74975 | 115 | 328 | 104 | 16.93 | n
f4 | 1632d0 | 115 | 25 | 50 | 1.78 | y | started run with instrument lid open
f5 | 23084 | 115 | 148 | 101 | 15.23 | n
f6 | 5b2bba | 115 | 859 | 104 | 16.93 | y
f7 | 7de10c | 115 | 233 | 103 | 16.35 | n
f8 | 6f7297 | 115 | 252 | 103 | 16.35 | n
f9 | 5befc6 | 115 | 140 | 100 | 14.7 | n
f10 | b6aeb3 | 115 | 328 | 104 | 16.93 | m
f11 | 8c86e2 | 115 | 130 | 99 | 14.18 | n
f12 | 1c8510 | 115 | 184 | 102 | 15.78 | n
f13 | ba9708 | 115 | 312 | 104 | 16.93 | m
f14 | 64ef6a | 115 | 79 | 89 | 9.78 | n | large bubble
f15 | 46820c | 115 | 130 | 99 | 14.18 | n
f16 | 5b5dc7 | 115 | 187 | 102 | 15.78 | n
f17 | 35ee40 | 115 | 302 | 104 | 16.93 | n | restart during run
f18 | 8df960 | 115 | 249 | 103 | 16.35 | n | few small bubbles
f19 | 8ccaa7 | 115 | 129 | 99 | 14.18 | n
f20 | 9ce75a | 115 | 219 | 103 | 16.35 | n
f21 | 1770b6 | 115 | no break | x | x | y | restart during run
[8 empty] | min | 25
[8 empty] | max | 859
[8 empty] | avg | 240
[8 empty] | stdev | 178.5443

## Sheet2
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.