## Slide 1: Eikon NAM.18S.190 (Mosquito) Assay

## Slide 2: Overview
3 Reactions:
Positive Control
NTC
Extraction Control
Each reaction was made by mixing 5 uL of the provided Master Mix with 5 uL of the corresponding control. Nuclease free water was used as the negative control.
Components
Positive Control
  10% TE Buffer
  EEEV.1029b.Trunc*
  SLEV.10535.Temp*
  WNV.3770.Trunc*
  NAM.18S.190.2SDNATemplate*
Template Control
  10% TE Buffer
  NAM.18S.190.ExtTemplate (CF610)
    5e8 Copies/rxn
Master Mix
  EEEV F/R
  SLEV F/R
  WNV F/R
  NAM F/R
  2x Promega MME
  RT Dilution 320U/uL
  *5e6 Copies/rxn

## Slide 3
PCR Parameters

## Slide 4: Results (Trial 2)
The template control provided a signal in channel 640 and 705 but not channel 530.