## MM setup
210224 Surrogate assay test
| Purpose: Look at TRAP1 mRNA and ACTB DNA prevalance in large sample set | [7 empty] | 3 | collection methods
| Use modified duplex. | [7 empty] | 32 | samples
Custom # of Tests Needed: |  | 10 | 10 | ul reaction volumes |  |  |  |  | 1 | plicate
Master Mix Components: |  | Volume (uL)/rxn | [Initial] |  | Volume to add (uL) | [Final] |  | Lot/ IL# | 96 | reactions
Promega MME, GF |  | 5 | 2 | x | 50 | 1 | x
RT (GoScript) |  | 0.1 | 320 | U/ul | 1 | 3.2 | U/ul
mRNA.TRAP1.9.F2 |  | 0.05 | 50 | uM | 0.5 | 0.25 | uM | 279358399
mRNA.TRAP1.9.R2.Red610 |  | 0.05 | 50 | uM | 0.5 | 0.25 | uM | SS608652-01
ACTB_F2 (FAM) |  | 0.03 | 50 | uM | 0.3 | 0.15 | uM
ACTB_R2 |  | 0.03 | 50 | uM | 0.3 | 0.15 | uM
template or water |  | 4.74
10
[5 empty] | 5.26 | ul MM/MIC tube

## CHMP2AandACTBmRNA
Well | Sample | Cq | Efficiency | R² | Result | Sample number | Swab Cq | Swish and Spit Cq | Spit Cq
1 | Swab 1 | 35.9902 | 0.4884 | 0.99205 |  | 1 | 35.9902 | 33.201 | 34.6473
2 | Swab 2 | 34.6455 | 0.8258 | 0.99944 |  | 2 | 34.6455 | 37.1719 | 35.9396
3 | Swab 3 | 39.637 | 0.6025 | 0.99985 |  | 3 | 39.637 | 0 | 31.7212
4 | Swab 4 | 36.4508 | 0.73142 | 0.99938 |  | 4 | 36.4508 | 0 | 33.8395
5 | Swab 5 | 39.2243 | 0.62721 | 0.99997 |  | 5 | 39.2243 | 0 | 37.764
6 | Swab 6 | 32.7688 | 0.84731 | 0.99953 |  | 6 | 32.7688 | 37.4312 | 38.569
7 | Swab 7 | 33.3001 | 0.87566 | 0.99944 |  | 7 | 33.3001 | 32.6804 | 33.3943
8 | Swab 8 | 34.0188 | 0.81457 | 0.99979 |  | 8 | 34.0188 | no sample | 32.9082
9 | Swab 9 |  |  |  | Excluded | 9 | 0 | 35.9191 | 32.2687
10 | Swab 10 |  |  |  | Excluded | 10 | 0 | 32.5758 | 33.6136
11 | Swab 11 |  |  |  | Excluded | 11 | 0 | 35.1817 | 37.0209
12 | Swab 12 |  |  |  | Excluded | 12 | 0 | 33.7113 | 35.154
13 | Swab 13 | 34.3423 | 0.69435 | 0.99919 |  | 13 | 34.3423 | 33.4773 | 32.6679
14 | Swab 14 | 32.9733 | 0.87364 | 0.99863 |  | 14 | 32.9733 | 0 | 0
15 | Swab 15 | 33.8391 | 0.82909 | 0.99949 |  | 15 | 33.8391 | 34.4165 | 37.1622
16 | Swab 16 | 32.3301 | 0.86881 | 0.99934 |  | 16 | 32.3301 | 0 | 0
17 | Swab 17 | 35.0206 | 0.73233 | 0.99906 |  | 17 | 35.0206 | 42.1697 | 34.9457
18 | Swab 18 | 32.0298 | 0.91245 | 0.99891 |  | 18 | 32.0298 | 33.1153 | 32.2598
19 | Swab 19 | 35.6224 | 0.64955 | 0.99872 |  | 19 | 35.6224 | 34.9378 | 34.0923
20 | Swab 20 | 33.0181 | 0.80841 | 0.99968 |  | 20 | 33.0181 | 31.5413 | 31.3566
21 | Swab 21 | 34.6167 | 0.74989 | 0.99885 |  | 21 | 34.6167 | 0 | 0
22 | Swab 22 | 35.0164 | 0.84701 | 0.9992 |  | 22 | 35.0164 | 0 | 0
23 | Swab 23 | 32.9143 | 0.87845 | 0.99912 |  | 23 | 32.9143 | 0 | 0
24 | Swab 24 | 35.7953 | 0.72143 | 0.99954 |  | 24 | 35.7953 | 33.4077 | 36.1551
25 | Swab 25 | 35.8841 | 0.72262 | 0.99933 |  | 25 | 35.8841 | 33.8576 | 32.6509
26 | Swab 26 | 35.3761 | 0.7425 | 0.99905 |  | 26 | 35.3761 | 41.5943 | 38.2757
27 | Swab 27 | 33.6998 | 0.81514 | 0.99965 |  | 27 | 33.6998 | 35.6336 | 33.9809
28 | Swab 28 |  |  |  | Excluded | 28 | 0 | 32.0302 | 33.3138
29 | Swab 29 | 35.7134 | 0.63968 | 0.99934 |  | 29 | 35.7134 | 35.5444 | 31.3316
30 | Swab 30 | 33.1754 | 0.63946 | 0.99946 |  | 30 | 33.1754 | 37.7229 | 0
31 | Swab 31 | 35.8628 | 0.6692 | 0.99906 |  | 31 | 35.8628 | 33.185 | 32.9995
32 | Swab 32 | 35.2645 | 0.70035 | 0.99961 |  | 32 | 35.2645 | 32.6223 | 32.907
33 | Swish and Spit 1 | 33.201 | 0.82392 | 0.99874
34 | Swish and Spit 2 | 37.1719 | 0.67242 | 0.99948 |  | percent positive | 84.375 | 74.1935 | 81.25
35 | Swish and Spit 3 |  |  |  | Excluded
36 | Swish and Spit 4 |  |  |  | Excluded
37 | Swish and Spit 5 |  |  |  | Excluded
38 | Swish and Spit 6 | 37.4312 | 0.72272 | 0.99965
39 | Swish and Spit 7 | 32.6804 | 0.76726 | 0.99943
40 | Swish and Spit 8 (no sample) |  |  |  | Excluded
41 | Swish and Spit 9 | 35.9191 | 0.62448 | 0.99934
42 | Swish and Spit 10 | 32.5758 | 0.81136 | 0.99944
43 | Swish and Spit 11 | 35.1817 | 0.71915 | 0.99964
44 | Swish and Spit 12 | 33.7113 | 0.81773 | 0.99955
45 | Swish and Spit 13 | 33.4773 | 0.80956 | 0.99915
46 | Swish and Spit 14 |  |  |  | Excluded
47 | Swish and Spit 15 | 34.4165 | 0.80692 | 0.99965
48 | Swish and Spit 16 |  |  |  | Excluded
1 | Swish and Spit 17 | 42.1697 | 0.57569 | 0.99967
2 | Swish and Spit 18 | 33.1153 | 0.79965 | 0.99974
3 | Swish and Spit 19 | 34.9378 | 0.6616 | 0.99956
4 | Swish and Spit 20 | 31.5413 | 0.78565 | 0.99968
5 | Swish and Spit 21 |  |  |  | Excluded
6 | Swish and Spit 22 |  |  |  | Excluded
7 | Swish and Spit 23 |  |  |  | Excluded
8 | Swish and Spit 24 | 33.4077 | 0.77556 | 0.99942
9 | Swish and Spit 25 | 33.8576 | 0.85279 | 0.99992
10 | Swish and Spit 26 | 41.5943 | 0.63594 | 0.99986
11 | Swish and Spit 27 | 35.6336 | 0.79873 | 0.99996
12 | Swish and Spit 28 | 32.0302 | 0.85415 | 0.99944
13 | Swish and Spit 29 | 35.5444 | 0.64829 | 0.99993
14 | Swish and Spit 30 | 37.7229 | 0.76436 | 0.99968
15 | Swish and Spit 31 | 33.185 | 0.79334 | 0.99989
16 | Swish and Spit 32 | 32.6223 | 0.82941 | 0.99962
17 | Spit 1 | 34.6473 | 0.826 | 0.99966
18 | Spit 2 | 35.9396 | 0.84475 | 0.99966
19 | Spit 3 | 31.7212 | 0.75958 | 0.9998
20 | Spit 4 | 33.8395 | 0.77317 | 0.99995
21 | Spit 5 | 37.764 | 0.77517 | 0.99981
22 | Spit 6 | 38.569 | 0.6436 | 0.99905
23 | Spit 7 | 33.3943 | 0.81029 | 0.99946
24 | Spit 8 | 32.9082 | 0.78838 | 0.99962
25 | Spit 9 | 32.2687 | 0.75875 | 0.99994
26 | Spit 10 | 33.6136 | 0.70132 | 0.99993
27 | Spit 11 | 37.0209 | 0.71004 | 0.99998
28 | Spit 12 | 35.154 | 0.72898 | 0.9999
29 | Spit 13 | 32.6679 | 0.82266 | 0.9994
30 | Spit 14 |  |  |  | Excluded
31 | Spit 15 | 37.1622 | 0.67815 | 0.99991
32 | Spit 16 |  |  |  | Excluded
33 | Spit 17 | 34.9457 | 0.59569 | 0.99994
34 | Spit 18 | 32.2598 | 0.67759 | 0.99997
35 | Spit 19 | 34.0923 | 0.84027 | 0.99943
36 | Spit 20 | 31.3566 | 0.70016 | 0.99988
37 | Spit 21 |  |  |  | Excluded
38 | Spit 22 |  |  |  | Excluded
39 | Spit 23 |  |  |  | Excluded
40 | Spit 24 | 36.1551 | 0.76437 | 0.99978
41 | Spit 25 | 32.6509 | 0.7621 | 0.99987
42 | Spit 26 | 38.2757 | 0.73751 | 0.99974
43 | Spit 27 | 33.9809 | 0.75992 | 0.99988
44 | Spit 28 | 33.3138 | 0.61796 | 0.99986
45 | Spit 29 | 31.3316 | 0.81377 | 0.99952
46 | Spit 30 |  |  |  | Excluded
47 | Spit 31 | 32.9995 | 0.82785 | 0.99964
48 | Spit 32 | 32.907 | 0.82368 | 0.99958
Sample Summary
Spit 1 x̄ = 34.65 σ = 0.00
Spit 10 x̄ = 33.61 σ = 0.00
Spit 11 x̄ = 37.02 σ = 0.00
Spit 12 x̄ = 35.15 σ = 0.00
Spit 13 x̄ = 32.67 σ = 0.00
Spit 14
Spit 15 x̄ = 37.16 σ = 0.00
Spit 16
Spit 17 x̄ = 34.95 σ = 0.00
Spit 18 x̄ = 32.26 σ = 0.00
Spit 19 x̄ = 34.09 σ = 0.00
Spit 2 x̄ = 35.94 σ = 0.00
Spit 20 x̄ = 31.36 σ = 0.00
Spit 21
Spit 22
Spit 23
Spit 24 x̄ = 36.16 σ = 0.00
Spit 25 x̄ = 32.65 σ = 0.00
Spit 26 x̄ = 38.28 σ = 0.00
Spit 27 x̄ = 33.98 σ = 0.00
Spit 28 x̄ = 33.31 σ = 0.00
Spit 29 x̄ = 31.33 σ = 0.00
Spit 3 x̄ = 31.72 σ = 0.00
Spit 30
Spit 31 x̄ = 33.00 σ = 0.00
Spit 32 x̄ = 32.91 σ = 0.00
Spit 4 x̄ = 33.84 σ = 0.00
Spit 5 x̄ = 37.76 σ = 0.00
Spit 6 x̄ = 38.57 σ = 0.00
Spit 7 x̄ = 33.39 σ = 0.00
Spit 8 x̄ = 32.91 σ = 0.00
Spit 9 x̄ = 32.27 σ = 0.00
Swish and Spit 17 x̄ = 42.17 σ = 0.00
Swish and Spit 18 x̄ = 33.12 σ = 0.00
Swish and Spit 19 x̄ = 34.94 σ = 0.00
Swish and Spit 20 x̄ = 31.54 σ = 0.00
Swish and Spit 21
Swish and Spit 22
Swish and Spit 23
Swish and Spit 24 x̄ = 33.41 σ = 0.00
Swish and Spit 25 x̄ = 33.86 σ = 0.00
Swish and Spit 26 x̄ = 41.59 σ = 0.00
Swish and Spit 27 x̄ = 35.63 σ = 0.00
Swish and Spit 28 x̄ = 32.03 σ = 0.00
Swish and Spit 29 x̄ = 35.54 σ = 0.00
Swish and Spit 30 x̄ = 37.72 σ = 0.00
Swish and Spit 31 x̄ = 33.18 σ = 0.00
Swish and Spit 32 x̄ = 32.62 σ = 0.00

## ACTB DNA (green channel)
Well | Sample | Cq | Efficiency | R² | Result | Sample number | Swab Cq | Swish and Spit Cq | Spit Cq
1 | Swab 1 | 26.1204 | 0.76084 | 0.99866 |  | 1 | 26.1204 | 27.8316 | 29.2066
2 | Swab 2 | 35.824 | 0.31887 | 0.98721 |  | 2 | 35.824 | 35.0031 | 28.7963
3 | Swab 3 | 31.7812 | 0.56236 | 0.99541 |  | 3 | 31.7812 | 37.3528 | 27.2812
4 | Swab 4 | 27.9429 | 0.70668 | 0.99803 |  | 4 | 27.9429 | 0 | 31.7089
5 | Swab 5 | 30.4411 | 0.71583 | 0.99874 |  | 5 | 30.4411 | 0 | 27.6213
6 | Swab 6 | 28.3873 | 0.62498 | 0.9965 |  | 6 | 28.3873 | 27.1755 | 28.5
7 | Swab 7 | 27.8009 | 0.70116 | 0.99822 |  | 7 | 27.8009 | 27.4213 | 23.0582
8 | Swab 8 | 29.1411 | 0.7556 | 0.99782 |  | 8 | 29.1411 | no sample | 25.2943
9 | Swab 9 | 27.7694 | 0.77825 | 0.99857 |  | 9 | 27.7694 | 35.1664 | 26.5193
10 | Swab 10 | 30.4455 | 0.70324 | 0.99827 |  | 10 | 30.4455 | 34.7071 | 27.6402
11 | Swab 11 | 30.0428 | 0.57499 | 0.9959 |  | 11 | 30.0428 | 35.0611 | 28.6874
12 | Swab 12 | 32.4279 | 0.58536 | 0.99613 |  | 12 | 32.4279 | 27.578 | 25.4146
13 | Swab 13 | 32.9477 | 0.64375 | 0.99663 |  | 13 | 32.9477 | 30.861 | 29.5407
14 | Swab 14 | 28.905 | 0.75395 | 0.99791 |  | 14 | 28.905 | 35.2755 | 27.7145
15 | Swab 15 | 28.4203 | 0.73535 | 0.99842 |  | 15 | 28.4203 | 35.3964 | 0
16 | Swab 16 | 26.3232 | 0.72697 | 0.99869 |  | 16 | 26.3232 | 32.8735 | 28.8775
17 | Swab 17 | 25.8966 | 0.67993 | 0.9976 |  | 17 | 25.8966 | 33.2142 | 0
18 | Swab 18 | 27.2921 | 0.63507 | 0.99819 |  | 18 | 27.2921 | 29.0772 | 25.4376
19 | Swab 19 | 29.1012 | 0.72891 | 0.99736 |  | 19 | 29.1012 | 27.7854 | 31.1551
20 | Swab 20 | 24.4018 | 0.79238 | 0.99887 |  | 20 | 24.4018 | 25.4166 | 24.7891
21 | Swab 21 | 27.8374 | 0.77263 | 0.99849 |  | 21 | 27.8374 | 31.0497 | 25.5216
22 | Swab 22 | 30.4598 | 0.70833 | 0.99821 |  | 22 | 30.4598 | 34.2783 | 29.2626
23 | Swab 23 | 27.2387 | 0.74278 | 0.99882 |  | 23 | 27.2387 | 33.2248 | 26.6633
24 | Swab 24 | 30.0579 | 0.74041 | 0.99841 |  | 24 | 30.0579 | 25.6545 | 23.3817
25 | Swab 25 | 31.5902 | 0.68187 | 0.99847 |  | 25 | 31.5902 | 30.7281 | 39.0159
26 | Swab 26 | 30.0797 | 0.671 | 0.99805 |  | 26 | 30.0797 | 35.4077 | 30.8528
27 | Swab 27 | 29.1656 | 0.64632 | 0.99725 |  | 27 | 29.1656 | 36.7277 | 38.4153
28 | Swab 28 | 33.3208 | 0.48993 | 0.99532 |  | 28 | 33.3208 | 28.9932 | 36.6007
29 | Swab 29 | 32.9 | 0.58369 | 0.99636 |  | 29 | 32.9 | 34.6925 | 25.1223
30 | Swab 30 | 29.0786 | 0.74458 | 0.9982 |  | 30 | 29.0786 | 29.0227 | 0
31 | Swab 31 | 32.7897 | 0.67742 | 0.99841 |  | 31 | 32.7897 | 28.1168 | 25.3582
32 | Swab 32 | 28.3888 | 0.75702 | 0.99892 |  | 32 | 28.3888 | 30.0107 | 29.1524
33 | Swish and Spit 1 | 27.8316 | 0.77945 | 0.99905
34 | Swish and Spit 2 | 35.0031 | 0.3416 | 0.97656 |  | percent positive | 100 | 93.5484 | 90.625
35 | Swish and Spit 3 | 37.3528 | 0.4263 | 0.98847
36 | Swish and Spit 4 |  |  |  | Excluded
37 | Swish and Spit 5 |  |  |  | Excluded
38 | Swish and Spit 6 | 27.1755 | 0.74526 | 0.99871
39 | Swish and Spit 7 | 27.4213 | 0.7667 | 0.99938
40 | NTC |  |  |  | Excluded
41 | Swish and Spit 9 | 35.1664 | 0.67949 | 0.99776
42 | Swish and Spit 10 | 34.7071 | 0.54568 | 0.9952
43 | Swish and Spit 11 | 35.0611 | 0.47325 | 0.99351
44 | Swish and Spit 12 | 27.578 | 0.81182 | 0.9992
45 | Swish and Spit 13 | 30.861 | 0.73077 | 0.99899
46 | Swish and Spit 14 | 35.2755 | 0.60033 | 0.99917
47 | Swish and Spit 15 | 35.3964 | 0.65825 | 0.99927
48 | Swish and Spit 16 | 32.8735 | 0.78171 | 0.99819
1 | Swish and Spit 17 | 33.2142 | 0.69798 | 0.99893
2 | Swish and Spit 18 | 29.0772 | 0.73286 | 0.99804
3 | Swish and Spit 19 | 27.7854 | 0.67852 | 0.99819
4 | Swish and Spit 20 | 25.4166 | 0.70314 | 0.99828
5 | Swish and Spit 21 | 31.0497 | 0.74727 | 0.99829
6 | Swish and Spit 22 | 34.2783 | 0.66081 | 0.9986
7 | Swish and Spit 23 | 33.2248 | 0.61185 | 0.99736
8 | Swish and Spit 24 | 25.6545 | 0.70637 | 0.99885
9 | Swish and Spit 25 | 30.7281 | 0.6033 | 0.99767
10 | Swish and Spit 26 | 35.4077 | 0.70513 | 0.99899
11 | Swish and Spit 27 | 36.7277 | 0.59023 | 0.99711
12 | Swish and Spit 28 | 28.9932 | 0.75393 | 0.99837
13 | Swish and Spit 29 | 34.6925 | 0.56556 | 0.99631
14 | Swish and Spit 30 | 29.0227 | 0.738 | 0.99814
15 | Swish and Spit 31 | 28.1168 | 0.6166 | 0.99722
16 | Swish and Spit 32 | 30.0107 | 0.69292 | 0.99797
17 | Spit 1 | 29.2066 | 0.74928 | 0.99862
18 | Spit 2 | 28.7963 | 0.69771 | 0.99883
19 | Spit 3 | 27.2812 | 0.70693 | 0.99839
20 | Spit 4 | 31.7089 | 0.64099 | 0.99766
21 | Spit 5 | 27.6213 | 0.70584 | 0.99878
22 | Spit 6 | 28.5 | 0.73058 | 0.99909
23 | Spit 7 | 23.0582 | 0.74415 | 0.99743
24 | Spit 8 | 25.2943 | 0.70936 | 0.99797
25 | Spit 9 | 26.5193 | 0.71317 | 0.9986
26 | Spit 10 | 27.6402 | 0.66985 | 0.99826
27 | Spit 11 | 28.6874 | 0.67591 | 0.99792
28 | Spit 12 | 25.4146 | 0.71186 | 0.99835
29 | Spit 13 | 29.5407 | 0.7081 | 0.99862
30 | Spit 14 | 27.7145 | 0.68373 | 0.99888
31 | Spit 15 |  |  |  | Excluded
32 | Spit 16 | 28.8775 | 0.67901 | 0.99726
33 | Spit 17 |  |  |  | Excluded
34 | Spit 18 | 25.4376 | 0.60953 | 0.99669
35 | Spit 19 | 31.1551 | 0.71915 | 0.99774
36 | Spit 20 | 24.7891 | 0.69724 | 0.99722
37 | Spit 21 | 25.5216 | 0.72927 | 0.9987
38 | Spit 22 | 29.2626 | 0.72806 | 0.99813
39 | Spit 23 | 26.6633 | 0.73334 | 0.99857
40 | Spit 24 | 23.3817 | 0.73881 | 0.9983
41 | Spit 25 | 39.0159 | 0.57055 | 0.99789
42 | Spit 26 | 30.8528 | 0.69427 | 0.99856
43 | Spit 27 | 38.4153 | 0.61749 | 0.99894
44 | Spit 28 | 36.6007 | 0.44074 | 0.998
45 | Spit 29 | 25.1223 | 0.75001 | 0.99819
46 | Spit 30 |  |  |  | Excluded
47 | Spit 31 | 25.3582 | 0.73734 | 0.99922
48 | Spit 32 | 29.1524 | 0.74709 | 0.99837

## TRAP1 mRNA (orange channel)
Well | Sample | Cq | Efficiency | R² | Result | Sample number | Swab Cq | Swish and Spit Cq | Spit Cq
1 | Swab 1 | 34.3123 | 0.76891 | 0.9999 |  | 1 | 34.3123 | 35.8952 | 0
2 | Swab 2 |  |  |  | Excluded | 2 | 0 | 0 | 0
3 | Swab 3 | 38.5315 | 0.57151 | 0.99993 |  | 3 | 38.5315 | 0 | 37.791
4 | Swab 4 | 34.2105 | 0.80466 | 0.99981 |  | 4 | 34.2105 | 0 | 39.731
5 | Swab 5 |  |  |  | Excluded | 5 | 0 | 0 | 0
6 | Swab 6 | 35.3078 | 0.77274 | 0.99999 |  | 6 | 35.3078 | 34.3614 | 33.9074
7 | Swab 7 | 33.0963 | 0.85629 | 0.99932 |  | 7 | 33.0963 | 0 | 0
8 | Swab 8 | 36.366 | 0.74405 | 0.99986 |  | 8 | 36.366 | no sample | 38.8968
9 | Swab 9 | 35.2272 | 0.75999 | 0.99991 |  | 9 | 35.2272 | 0 | 0
10 | Swab 10 |  |  |  | Excluded | 10 | 0 | 39.1921 | 38.9119
11 | Swab 11 | 40.9197 | 0.7094 | 0.99963 |  | 11 | 40.9197 | 0 | 0
12 | Swab 12 | 37.7126 | 0.81725 | 0.99995 |  | 12 | 37.7126 | 39.0464 | 0
13 | Swab 13 |  |  |  | Excluded | 13 | 0 | 0 | 0
14 | Swab 14 | 37.1325 | 0.7981 | 0.99986 |  | 14 | 37.1325 | 0 | 0
15 | Swab 15 |  |  |  | Excluded | 15 | 0 | 0 | 0
16 | Swab 16 |  |  |  | Excluded | 16 | 0 | 0 | 0
17 | Swab 17 | 32.5603 | 0.79263 | 0.9999 |  | 17 | 32.5603 | 0 | 0
18 | Swab 18 | 33.3111 | 0.79638 | 0.99972 |  | 18 | 33.3111 | 35.2107 | 0
19 | Swab 19 | 38.2846 | 0.75714 | 0.99997 |  | 19 | 38.2846 | 0 | 0
20 | Swab 20 | 37.919 | 0.73653 | 0.99988 |  | 20 | 37.919 | 0 | 0
21 | Swab 21 |  |  |  | Excluded | 21 | 0 | 0 | 0
22 | Swab 22 |  |  |  | Excluded | 22 | 0 | 0 | 0
23 | Swab 23 | 36.327 | 0.76355 | 1 |  | 23 | 36.327 | 0 | 0
24 | Swab 24 |  |  |  | Excluded | 24 | 0 | 34.0208 | 0
25 | Swab 25 |  |  |  | Excluded | 25 | 0 | 0 | 0
26 | Swab 26 | 36.3126 | 0.77483 | 0.99996 |  | 26 | 36.3126 | 0 | 40.0509
27 | Swab 27 | 34.5144 | 0.75146 | 0.99994 |  | 27 | 34.5144 | 0 | 0
28 | Swab 28 | 37.2771 | 0.6897 | 0.99941 |  | 28 | 37.2771 | 0 | 0
29 | Swab 29 |  |  |  | Excluded | 29 | 0 | 0 | 0
30 | Swab 30 |  |  |  | Excluded | 30 | 0 | 0 | 0
31 | Swab 31 |  |  |  | Excluded | 31 | 0 | 34.2255 | 37.1663
32 | Swab 32 | 34.1627 | 0.7729 | 0.99999 |  | 32 | 34.1627 | 35.1658 | 38.7687
33 | Swish and Spit 1 | 35.8952 | 0.70395 | 0.99989
34 | Swish and Spit 2 |  |  |  | Excluded | percent positive | 59.375 | 25.8065 | 25
35 | Swish and Spit 3 |  |  |  | Excluded
36 | Swish and Spit 4 |  |  |  | Excluded
37 | Swish and Spit 5 |  |  |  | Excluded
38 | Swish and Spit 6 | 34.3614 | 0.77774 | 0.99987
39 | Swish and Spit 7 |  |  |  | Excluded
40 | NTC |  |  |  | Excluded
41 | Swish and Spit 9 |  |  |  | Excluded
42 | Swish and Spit 10 | 39.1921 | 0.69562 | 0.99995
43 | Swish and Spit 11 |  |  |  | Excluded
44 | Swish and Spit 12 | 39.0464 | 0.66876 | 0.99998
45 | Swish and Spit 13 |  |  |  | Excluded
46 | Swish and Spit 14 |  |  |  | Excluded
47 | Swish and Spit 15 |  |  |  | Excluded
48 | Swish and Spit 16 |  |  |  | Excluded
1 | Swish and Spit 17 |  |  |  | Excluded
2 | Swish and Spit 18 | 35.2107 | 0.7792 | 0.9999
3 | Swish and Spit 19 |  |  |  | Excluded
4 | Swish and Spit 20 |  |  |  | Excluded
5 | Swish and Spit 21 |  |  |  | Excluded
6 | Swish and Spit 22 |  |  |  | Excluded
7 | Swish and Spit 23 |  |  |  | Excluded
8 | Swish and Spit 24 | 34.0208 | 0.78244 | 0.99973
9 | Swish and Spit 25 |  |  |  | Excluded
10 | Swish and Spit 26 |  |  |  | Excluded
11 | Swish and Spit 27 |  |  |  | Excluded
12 | Swish and Spit 28 |  |  |  | Excluded
13 | Swish and Spit 29 |  |  |  | Excluded
14 | Swish and Spit 30 |  |  |  | Excluded
15 | Swish and Spit 31 | 34.2255 | 0.79907 | 0.99994
16 | Swish and Spit 32 | 35.1658 | 0.69998 | 0.99996
17 | Spit 1 |  |  |  | Excluded
18 | Spit 2 |  |  |  | Excluded
19 | Spit 3 | 37.791 | 0.63664 | 0.99996
20 | Spit 4 | 39.731 | 0.69063 | 0.99994
21 | Spit 5 |  |  |  | Excluded
22 | Spit 6 | 33.9074 | 0.81317 | 0.99968
23 | Spit 7 |  |  |  | Excluded
24 | Spit 8 | 38.8968 | 0.62554 | 0.99975
25 | Spit 9 |  |  |  | Excluded
26 | Spit 10 | 38.9119 | 0.59657 | 0.99991
27 | Spit 11 |  |  |  | Excluded
28 | Spit 12 |  |  |  | Excluded
29 | Spit 13 |  |  |  | Excluded
30 | Spit 14 |  |  |  | Excluded
31 | Spit 15 |  |  |  | Excluded
32 | Spit 16 |  |  |  | Excluded
33 | Spit 17 |  |  |  | Excluded
34 | Spit 18 |  |  |  | Excluded
35 | Spit 19 |  |  |  | Excluded
36 | Spit 20 |  |  |  | Excluded
37 | Spit 21 |  |  |  | Excluded
38 | Spit 22 |  |  |  | Excluded
39 | Spit 23 |  |  |  | Excluded
40 | Spit 24 |  |  |  | Excluded
41 | Spit 25 |  |  |  | Excluded
42 | Spit 26 | 40.0509 | 0.54468 | 0.99989
43 | Spit 27 |  |  |  | Excluded
44 | Spit 28 |  |  |  | Excluded
45 | Spit 29 |  |  |  | Excluded
46 | Spit 30 |  |  |  | Excluded
47 | Spit 31 | 37.1663 | 0.69993 | 0.99978
48 | Spit 32 | 38.7687 | 0.64177 | 0.99995
Sample Summary
Spit 1
Spit 10 x̄ = 38.91 σ = 0.00
Spit 11
Spit 12
Spit 13
Spit 14
Spit 15
Spit 16
Spit 17
Spit 18
Spit 19
Spit 2
Spit 20
Spit 21
Spit 22
Spit 23
Spit 24
Spit 25
Spit 26 x̄ = 40.05 σ = 0.00
Spit 27
Spit 28
Spit 29
Spit 3 x̄ = 37.79 σ = 0.00
Spit 30
Spit 31 x̄ = 37.17 σ = 0.00
Spit 32 x̄ = 38.77 σ = 0.00
Spit 4 x̄ = 39.73 σ = 0.00
Spit 5
Spit 6 x̄ = 33.91 σ = 0.00
Spit 7
Spit 8 x̄ = 38.90 σ = 0.00
Spit 9
Swish and Spit 17
Swish and Spit 18 x̄ = 35.21 σ = 0.00
Swish and Spit 19
Swish and Spit 20
Swish and Spit 21
Swish and Spit 22
Swish and Spit 23
Swish and Spit 24 x̄ = 34.02 σ = 0.00
Swish and Spit 25
Swish and Spit 26
Swish and Spit 27
Swish and Spit 28
Swish and Spit 29
Swish and Spit 30
Swish and Spit 31 x̄ = 34.23 σ = 0.00
Swish and Spit 32 x̄ = 35.17 σ = 0.00